## MRS
■ Purchase Requisition of Material / Manpower / Equipment Rental / ETC. | [6 empty] | DAESHIN PLANT
PJT : SACE2 |  | Division (In charge Name) : ADMIN MANAGER (Dong Chang Kim) |  |  |  |  | Subcontract name (SAC2-SC-IK-SMP-01)
MRS No : SAC2-DS-MRS-0311 |  |  | 2026-05-15 | [5 empty] | 2026-05-15
No | Item | Specification (Model / Manufacturer / Size) |  | Unit | Qty | Unit Price (SAR) (Exclude VAT) | Total Price (SAR) (Exclude VAT) | Vendor Name | Remarks
1 | LED FLOOD LIGHT 400W |  |  | EA | 100 | 80 | 8000 | OSAZ | One time
2 | 30W/220V LED PANEL LIGHT 11"/280MM SURFACE |  |  | EA | 20 | 14 | 280
3 | 16A/220V 3PIN MOBILE SOCKET IP66/67 MQ |  |  | EA | 300 | 26.5 | 7950
4 | 16A/220V 3PIN MOBILE PLUG IP66/67 MQ |  |  | EA | 300 | 18.5 | 5550
5 | RCCB 25A 2P 10mA |  |  | EA | 100 | 110 | 11000
6 | CABLE LUG 25MM² X M10 |  |  | EA | 100 | 1.65 | 165
7 | CABLE LUG 35MM² X M10 |  |  | EA | 100 | 1.75 | 175
8 | CABLE LUG 50MM² X M10 |  |  | EA | 100 | 2.1 | 210
9 | FLEXIBLE CABLE WHITE 3C X 4MM² 100YARD / ROLL |  |  | ROLL | 20 | 430 | 8600
10 | 32A/220V 3PIN MOBILE SOCKET IP66/67 MQ |  |  | EA | 50 | 65 | 3250
11 | RCCB 125A 4P 30mA |  |  | EA | 1 | 310 | 310
12 | CABLE LUG 6MM² X M6 |  |  | EA | 400 | 0.4 | 160
13 | 16A/220V 3PIN MOBILE PLUG IP66/67 MQ |  |  | EA | 20 | 20 | 400
14 | 16A/220V 3PIN MOBILE SOCKET IP66/67 MQ |  |  | EA | 20 | 32 | 640
15 | 2 GANG 13A SWITCHED SOCKET 7 X 14 |  |  | EA | 4 | 16.5 | 66
16 | 16A/220V 3PIN MOBILE PLUG IP66/67 MQ |  |  | EA | 10 | 20 | 200
17 | 16A/220V 3PIN MOBILE SOCKET IP66/67 MQ |  |  | EA | 10 | 32 | 320
18 | DISTRIBUTION BOX 5 WAY HT-5 |  |  | EA | 10 | 16 | 160
19 | RCCB 25A 2P 10mA |  |  | EA | 10 | 110 | 1100
20 | 16A/220V 3PIN MOBILE PLUG IP66/67 |  |  | EA | 30 | 20 | 600
21 | 16A/220V 3PIN MOBILE SOCKET IP66/67 |  |  | EA | 30 | 32 | 960
22 | 32A/380V 4PIN MOBILE PLUG IP66/67 |  |  | EA | 15 | 56 | 840
23 | 32A/380V 4PIN MOBILE SOCKET IP66/67 |  |  | EA | 15 | 84 | 1260
24 | 32A/220V 3PIN MOBILE PLUG IP66/67 |  |  | EA | 30 | 39.75 | 1192.5
25 | 32A/220V 3PIN MOBILE SOCKET IP66/67 |  |  | EA | 30 | 65 | 1950
26 | PANEL BOARD FABRICATED |  |  | EA | 5 | 8600 | 43000
27 | PANEL BOARD FABRICATED |  |  | EA | 1 | 8600 | 8600
28 | PANEL BOARD FABRICATED |  |  | EA | 3 | 6000 | 18000
29 | FLEXIBLE CABLE WHITE 3C X 4MM² 100YARD / ROLL |  |  | ROLL | 10 | 430 | 4300
30 | 30W/220V LED PANEL LIGHT 11"/280MM SURFACE |  |  | EA | 8 | 14 | 112
31 | FLEXIBLE CABLE WHITE 3C X 1.5MM² 100YARD / ROLL |  |  | ROLL | 3 | 190 | 570
32 | 30W/220V LED PANEL LIGHT 11"/280MM SURFACE |  |  | EA | 10 | 14 | 140
Purpose | [5 empty] | Sum | 130060.5
* There will be an additional administration expense and financial expense (Depend on contract) deduction of total provision cost price.
[12 empty] | HEC | ADM
/
[10 empty] | Requesting | JV Area PIC
[10 empty] | Company |  | HDEC | ADM
[10 empty] | / | / |  | /
[10 empty] | PROJECT MANAGER | PROJECT MANAGER |  | ADM
[10 empty] | PROJECT MANAGER | PROJECT MANAGER |  | PCM

## MRS LIST
■ Purchase Requisition of Equipment Rental | [5 empty] | DAESHIN PLANT
PJT : SACE2 |  | Division (In charge Name) : ADMIN MANAGER (Dong Chang Kim) |  |  |  | Subcontract name (SAC2-SC-IK-SMP-01)
MRS No : SAC2-DS-MRS-0311 | [6 empty] | 2026-05-15
No | Item | Specification (Model / Manufacturer / Size) | Unit | Q'ty | Unit Price | Total Price | Remarks
1 | LED FLOOD LIGHT 400W | 0 | EA | 100 | 80 | 8000
2 | 30W/220V LED PANEL LIGHT 11"/280MM SURFACE | 0 | EA | 20 | 14 | 280
3 | 16A/220V 3PIN MOBILE SOCKET IP66/67 MQ | 0 | EA | 300 | 26.5 | 7950
4 | 16A/220V 3PIN MOBILE PLUG IP66/67 MQ | 0 | EA | 300 | 18.5 | 5550
5 | RCCB 25A 2P 10mA | 0 | EA | 100 | 110 | 11000
6 | CABLE LUG 25MM² X M10 | 0 | EA | 100 | 1.65 | 165
7 | CABLE LUG 35MM² X M10 | 0 | EA | 100 | 1.75 | 175
8 | CABLE LUG 50MM² X M10 | 0 | EA | 100 | 2.1 | 210
9 | FLEXIBLE CABLE WHITE 3C X 4MM² 100YARD / ROLL | 0 | ROLL | 20 | 430 | 8600
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## PO 1st page
BRANCH OF HYUNDAI ENG. & CONST. CO., LTD.
P. O. Box 77249, Al Khobar 31952
kingdom of Saudi Arabia
| C.R. 2051041774 & VAT No.: 300000504500003 | [6 empty] | Tel: +966-13-845-1088
Fax: +966-13-845-1099
| TO: | OSAZ (OSAZ Electricals)
|  | CR No. : | 2055009599 |  |  | P/O Date: | 2026-05-15
|  | VAT No. : | 300512826400003 |  |  | P/O No.: | SAC2-DS-PO-0311
|  | In Charge : | Mansoor |  |  | (Please mention this No. in
|  |  | Mobile: +966 57 694 3329 |  |  | All future correspondence)
|  | Building No. 3350,King Fahad Street-8603,Al Dana Dist. Al Jubail 35514, KSA |  |  |  | Quote Ref. : | 101789
|  | Mobile: +966 57 694 3329 |  |  |  | Date- | 2026-05-13
PURCHASE ORDER
WE ARE PLEASED TO PLACE AN ORDER WITH YOU FOR THE GOODS DESCRIBED BELOW. THE ORDER SHALL BE SUBJECT TO THE TERMS AND CONDITIONS SET OUR
BELOW AND ATTACHED. PLEASE SIGN AND RETURN THE ENCLOSED COPY OF THIS ORDER AS CONFIRMATION OF YOUR ACCEPTANCE OF IT WITHIN A WEEK
OTHERWISE THIS ORDER SHALL BE REGARDED AS BEING ACCEPTED BY YOU.
| 1 | GOODS
|  | Electrical Items | [5 empty] | [Please refer to attached Scope of supply & Quotation for more details]
| 2 | P/O AMOUNT
|  | Material Value |  | : | 130060.5
|  | VAT 15% |  | : | 19509.075
|  | Total Amount |  | : | 149569.575
| 3 | PAYMENT TERMS
100% Payment after Delivery within 35 days with submission of the following Documents.
a) Tax E-Invoice (From Zakat, Tax and Customs Authority)
b) Delivery/Dispatch Note [Counter signed by Site Representative]
| 4 | DELIVERY TERMS
Delivery by Seller to Jafurah HYUNDAI Laydown within a Week after receipt of PO.
| 5 | OTHER TERMS AND CONDITIONS
a) Any quantity rejected by the Buyer owing to its poor quality and non conformity of specification shall be replaced and re-delivered
by Seller to Buyer at no extra costs
b) Material Certificate, Data Sheet, Safety Data Sheet and other documents which may required by ARAMCO in material receiving
inspection should be submitted to Buyer
c) MTC / MSDS, Others, If required by Client
| 6 | CONTACT POINT:
| - | Delivery & Payment : Dong Chang Kim / Daeshin Admin. [ Mobile No. : +966 53 748 5762 / Email : kdchjs@daeshinplant.com ]
| - | Commercial (Purchaser) : Youngkyu Choi / Daeshin Planning [ Mobile No. : +966 53 952 0931 / Email : ykchoi@daeshinplant.com ]
| - | Invoicing : Nehal Kauser / HDEC Purchase PIC [ Mobile No. : +966 50 610 2363 / Email : nehal_kauser@hdec.co.kr ]
| 7 | Bank Account Details:
| - | ACCOUNT NAME |  |  | OSAZ ELECTRICALS |  |  |  | OSAZ ELECTRICALS
| - | ACCOUNT NUMBER |  |  | 95900001286307
| - | IBAN |  |  | SA45 1000 0095 9000 0128 6307
| - | BANK NAME |  |  | SAUDI NATIONAL BANK
| - | SWIFT CODE |  |  | NCBKSAJE
| - | CURRENCY |  |  | SAR
Bank account changes are strictly prohibited. Payments will only be made to the account registered and approved in this Purchase Order.
| Client |  |  |  |  | Contractor
| Signature: |  |  |  |  | Signature:
| Name : DONG HWAN HAN |  |  |  |  | Name : | Mansoor
| Title : Administrative Manager |  |  |  |  | Title : | Sales Manager
| For and behalf of |  |  |  |  | For and behalf of
| Branch of Hyundai Engineering and Const. Co., Ltd. (HDEC) |  |  |  |  | OSAZ (OSAZ Electricals)
Page 1/2

## PO 2nd page
PO NO. : | SAC2-DS-PO-0311 | Scope of Supply
DATE : | 2026-05-15 |  |  | Jafurah Utilities, Sulfur and Interconnecting Systems(Pkg-2)
S. NO | DESCRIPTION |  | QTY | UNIT | OSAZ (OSAZ Electricals) |  | Remarks (Details)
[5 empty] | Unit Price | Total Amount
1 | LED FLOOD LIGHT 400W |  | EA | 100 | 80 | 8000 | One time
2 | 30W/220V LED PANEL LIGHT 11"/280MM SURFACE |  | EA | 20 | 14 | 280
3 | 16A/220V 3PIN MOBILE SOCKET IP66/67 MQ |  | EA | 300 | 26.5 | 7950
4 | 16A/220V 3PIN MOBILE PLUG IP66/67 MQ |  | EA | 300 | 18.5 | 5550
5 | RCCB 25A 2P 10mA |  | EA | 100 | 110 | 11000
6 | CABLE LUG 25MM² X M10 |  | EA | 100 | 1.65 | 165
7 | CABLE LUG 35MM² X M10 |  | EA | 100 | 1.75 | 175
8 | CABLE LUG 50MM² X M10 |  | EA | 100 | 2.1 | 210
9 | FLEXIBLE CABLE WHITE 3C X 4MM² 100YARD / ROLL |  | ROLL | 20 | 430 | 8600
10 | 32A/220V 3PIN MOBILE SOCKET IP66/67 MQ |  | EA | 50 | 65 | 3250
11 | RCCB 125A 4P 30mA |  | EA | 1 | 310 | 310
12 | CABLE LUG 6MM² X M6 |  | EA | 400 | 0.4 | 160
13 | 16A/220V 3PIN MOBILE PLUG IP66/67 MQ |  | EA | 20 | 20 | 400
14 | 16A/220V 3PIN MOBILE SOCKET IP66/67 MQ |  | EA | 20 | 32 | 640
15 | 2 GANG 13A SWITCHED SOCKET 7 X 14 |  | EA | 4 | 16.5 | 66
16 | 16A/220V 3PIN MOBILE PLUG IP66/67 MQ |  | EA | 10 | 20 | 200
17 | 16A/220V 3PIN MOBILE SOCKET IP66/67 MQ |  | EA | 10 | 32 | 320
18 | DISTRIBUTION BOX 5 WAY HT-5 |  | EA | 10 | 16 | 160
19 | RCCB 25A 2P 10mA |  | EA | 10 | 110 | 1100
20 | 16A/220V 3PIN MOBILE PLUG IP66/67 |  | EA | 30 | 20 | 600
21 | 16A/220V 3PIN MOBILE SOCKET IP66/67 |  | EA | 30 | 32 | 960
22 | 32A/380V 4PIN MOBILE PLUG IP66/67 |  | EA | 15 | 56 | 840
23 | 32A/380V 4PIN MOBILE SOCKET IP66/67 |  | EA | 15 | 84 | 1260
24 | 32A/220V 3PIN MOBILE PLUG IP66/67 |  | EA | 30 | 39.75 | 1192.5
25 | 32A/220V 3PIN MOBILE SOCKET IP66/67 |  | EA | 30 | 65 | 1950
26 | PANEL BOARD FABRICATED |  | EA | 5 | 8600 | 43000
27 | PANEL BOARD FABRICATED |  | EA | 1 | 8600 | 8600
28 | PANEL BOARD FABRICATED |  | EA | 3 | 6000 | 18000
29 | FLEXIBLE CABLE WHITE 3C X 4MM² 100YARD / ROLL |  | ROLL | 10 | 430 | 4300
30 | 30W/220V LED PANEL LIGHT 11"/280MM SURFACE |  | EA | 8 | 14 | 112
31 | FLEXIBLE CABLE WHITE 3C X 1.5MM² 100YARD / ROLL |  | ROLL | 3 | 190 | 570
32 | 30W/220V LED PANEL LIGHT 11"/280MM SURFACE |  | EA | 10 | 14 | 140
Sub Total Amount | [5 empty] | 130060.5
VAT 15% | [5 empty] | 19509.075
Grand Total in SAR | [5 empty] | 149569.575
1) Above Price are as per your quotation with ref 101789
2) Details of each item are attached separately.
Page 2/2